SECTION 07576

VEHICULAR TRAFFIC BEARING WATERPROOF SURFACING

Dex-O-Tex Auto-Dex 500

# PART 1.00 - GENERAL

1.01	GENERAL REQUIREMENTS

A.	Work of this Section, as shown or specified, shall be in accordance with the requirements of the Contract Documents.

1.02	      WORK INCLUDED

A.		Work of this Section includes all labor, materials, equipment and services necessary to complete the synthetic rubber composition vehicular traffic bearing deck surfacing as scheduled on the drawings and/or specified herein.

1.03 	RELATED WORK

A.  	Concrete - Section 03300.

(Note to Specifier: Concrete slab should be either water cured or cured using sodium silicate curing compounds only.  Other types of curing compounds are generally not acceptable.  Concrete should be cured for a minimum of 28 days with a maximum moisture content of 7%. Light weight concrete topping slabs should not contain light weight aggregates such as gypsum or vermiculite.  Structural concrete and concrete topping shall include expansion joints and expansion joints shall be filled with Dex-O-Tex Elastatex 500 joint filling compound or approved equal.  Minimum pitch of  1/8 inch per foot. On grade floors should have vapor retarder beneath slab and be properly vented.)

B.	Floor drains - Division 15

(Note to Specifier:  Floor drains, clean-outs, etc.  should be of the “floor-flange" type as manufactured for use with composition floors by most major drain manufacturers. Drain flange shall be finished flush with substrate.)

C.	Insulation, vapor barrier and protective waterproofing

(Consult Crossfield Products Corp. for specific recommendation)

D. 	Sheet metal flashing

(Note to Specifier:  Sheet metal flashing shall be minimum 26 gauge bonderized. All joint or seams shall be caulked with Dex-O-Tex Elastatex 500 flashing paste.)

E. 	 Slope for drainage

(Note to Specifier: allow minimum 1/8 inch per foot slop e to drain. This can be provided for in the substrate or by application of Dex-O-Tex G-26 underlayment. Care must be taken to provide adequate elevation at thresholds to provide proper slope to drain.)

F.  	Wall vents

(Note to Specifier: Wall vents are used to relive moisture vapor transmission pressure from beneath the waterproof membrane of the waterproof deck covering system.  Moisture vapor commonly collect in areas below a vapor barrier such as the waterproof membrane of the deck covering system.  These vents should be installed in the flashing on any deck larger then 5000 square feet, or approximately one vent every 5000 square feet.)

1.04		SUBMITTALS

- General:  Submit the following in accordance with Conditions of Contract and Division 1 Specification Sections.

B.	Product Data:  Submit manufacturer's technical data, application instructions and general recommendations for the waterproof synthetic rubber composition traffic bearing roof deck surfacing specified herein.

C.	LEED Submittals:

1.  	Product Data for Credit MR 4.1 and Credit MR 4.2:  For products having recycled content, submit documentation indicating percentages by weight of postconsumer and preconsumer recycled content.

a.   	Include statement indicating costs for each product having recycled content.

b.	Include LEED Product Information Form for LEED Credits MR 4.1 and 4.2.

2.	Product Data for Credit EQ 4.2:  For field applied, interior, paints coatings and primers, include printed statement of VOC content indicating compliance with Credit requirements.

a.	Include LEED Product Information Form for LEED Credit EQ 4.2.

3.	Provide additional documentation for products as required to achieve each Credit(s).

D.	Samples for initial selection purposes in form of manufacturer's color charts showing full range of colors and finishes available.

1. Submit 2-1/2" x 4" samples of color chips from color chart selection designated by the Architect.

E.	Material certificates signed by manufacturer certifying that the waterproof synthetic rubber composition traffic bearing roof deck surfacing complies with requirements specified herein.

F.	Maintenance Instructions:  Submit manufacturer's written instructions for recommended maintenance practices.

1.05 	QUALITY ASSURANCE

A.	Installer Qualifications:  Engage an experienced Installer or applicator that has specialized in installing vehicular traffic waterproof deck covering system types similar to that required for this Project and who is acceptable to manufacturer of primary materials.

B.	Single-Source Responsibility:  Obtain waterproof synthetic rubber composition traffic bearing roof deck surfacing materials, including primers, resins, hardening agents, and finish or sealing coats, from a single manufacturer.

C.	Qualified Materials: Request for material approvals for any products other than the specified products must be submitted to the architect two weeks prior to the bid, including complete application specification, physical characteristics, and chemical resistance data. Any request after this date will not be accepted. Failure of performance requires immediate removal and replacement of unapproved substituted material with those originally specified at no cost to the owner, architect, construction manager, or general contractor.

1.06	DELIVERY, STORAGE AND HANDLING

A.	Deliver materials in original packages and containers with seals unbroken and bearing manufacturer's labels containing brand name and direction s for storage and mixing with other components.

B.	Store materials to comply with manufacturer's directions to prevent deterioration from moisture, heat, cold, direct sunlight, or other detrimental effects.

1.07	PROJECT CONDITIONS

A.	Environmental Conditions:  Comply with waterproof synthetic rubber composition traffic-bearing roof deck surfacing manufacturer's directions for maintenance of ambient and substrate temperature, moisture, humidity, ventilation, and other conditions required to execute and protect work.

PART 2.00 PRODUCTS

2.01 	MATERIALS

- Fluid applied waterproof synthetic rubber composition vehicular traffic bearing roof deck surfacing shall be Dex-O-Tex Auto-Dex 500 as manufactured by Crossfield Products Corp. located in Rancho Dominguez, California and Roselle Park, New Jersey.

- The fluid applied waterproof synthetic rubber composition traffic bearing roof deck surfacing system shall be composed of an epoxy primer/bondcoat, two coats of polyurethane rubber waterproof membrane, traffic surfacing, and aliphatic finish coats, and shall conform to the following standards:

1.  Traffic deck binder and all rubber emulsions shall b e compounded with synthetic rubber liquid and shall have a minimum synthetic rubber solids content of 85% when tested by the dry cup method.

2.  Aggregate for traffic surface coating shall be suitably graded fine trap-rock passing a #20 mesh sieve and retained on a #40 mesh sieve.

3.  Fabric used as reinforcement for waterproof flashing shall be 7 1/2 oz. woven polypropylene fabric.

4.  Final Finish dressing shall be a two component, aliphatic synthetic rubber emulsion material, pigmented and of a consistency suitable for roller application.

2.02 PROPERTIES

A.	Colors:  As indicated, or if not otherwise indicated, as selected by Architect from manufacturer's standard colors.

B.  	Physical Properties:

Provide a waterproof deck covering system that meet or exceed the listed minimum physical property requirements when tested according to the referenced standard test method in parentheses.

Weight	2.5 lbs. per Sq.Ft.

Accelerated Auto-Dex 500 (ASTM G23)	No cracking, blistering, delamination,

chalking, crazing or color change

Accelerated Aging (ASTM D756)	No cracking, blistering, delamination,

chalking, crazing or color change

Freeze-Thaw (ASTM C67)	No breakage or weight loss

Abrasion (ASTM D1242)	4.3% @ No. 80TP

Percolation (ICBO standard)	Complies

Water Absorption (ASTM D570)	>6.09% No warping or cracking

Wind Uplift (ICBO Factory Mutual 1-52)	Complies 131 MPH @ 3 Safety factor

Flammability (ASTM E108, UL 790, NFPA 256)

Intermittent Flame Exposure	Class A

Spread of Flame	Class A

Burning Brand	Class A

Chemical Resistance

Industrial Detergent	No change in texture or color

Salt (20%)	No change in texture or color

Ammonia Solution (5%)	No change in texture or color

Muriatic Acid (10%)	No change in texture or color

Chlorine (10%)	No change in texture or color

Kerosene	No change in texture or color

Turpentine	Slight Temporary softening of surface

Paint thinner	Slight Temporary softening of surface

2.03	SUPPLEMENTAL MATERIALS

A.	Optional Top Coat:  Type recommended or produced by manufacturer of waterproof synthetic rubber composition traffic bearing roof deck system for any specific chemical resistant, skid resistance or profile of desired final finish.

(Note to Specifier: The final finish of the decking system will vary depending on installation technique and inherent properties which may be incorporated in finish system. It is essential to choose the proper finish required for your specific application.  Once a final finish is selected, approved submittal samples will accurately depict the actual final finish of the waterproof deck covering system.)

PART 3.00 - EXECUTION

3.01	INSPECTION

A.	Examine the areas and conditions where the waterproof synthetic rubber composition traffic bearing roof deck surfacing is to be installed and notify the Architect of conditions detrimental to the proper and timely completion of the work.  Do not proceed with the work until unsatisfactory conditions have been corrected by the Contractor in a manner acceptable to the Architect.

B.	Evaluate level of moisture in the substrate to determine moisture levels are acceptable for application of specified waterproof deck covering system.

3.02	PREPARATION

A.	Substrate:  Perform preparation and cleaning procedures according to waterproof deck covering manufacturer's instructions for particular substrate conditions involved, and as specified.  Provide clean, dry, and neutral substrate for application of waterproof deck covering.

B.	Materials:  Mix synthetic rubber emulsions and aggregate when required as per manufacturer's instructions. Prepare materials according to waterproof deck covering system manufacturer's instructions.

3.03 	APPLICATION

A.	General:  Apply each component of waterproof synthetic rubber composition vehicular traffic bearing roof deck surfacing system according to manufacturer's directions to produce a uniform monolithic surface of thickness indicated.

B.	Apply epoxy bondcoat/primer by brush, roller, squeegee, or spray apparatus over the entire surface to be coated. Allow to cure a minimum of 2 hours or tack free, before proceeding. Apply subsequent coats within 48 hours of application of primer/bondcoat.

C.	Apply elastomeric polymer caulking 3/4 inch Cant at all vertical junctures. Apply reinforced membrane at all vertical junctures, transitions, control joints, or cracks. Embed polypropylene fabric into synthetic rubber membrane liquid.

D.	Apply two coats synthetic polyurethane rubber waterproof membrane solution. Take care to avoid pinholes.

E.	Apply two coats of synthetic rubber and aggregate composition traffic surfacing over all surfaces previously covered with waterproof membrane. Find and repair any small surface imperfections (Apply additional coat with slip-resistant aggregate on steeply grade or traffic ramp areas).

F.	Roller apply two coats of aliphatic final finish dressing to a uniform finish.

G.	Finished synthetic rubber composition Vehicular traffic waterproof surfacing shall be a nominal 60 mils thick, smooth and uniform in color and texture.

(Note to Specifier: Other work may include Parking lines, bumper curds and seismic joints.)

3.04	CURING, PROTECTION AND CLEANING

A.	Cure waterproof synthetic rubber composition traffic bearing roof deck surfacing materials according to manufacturer's directions, taking care to prevent contamination during application stages and before completing curing process.  Close application area for a minimum of 24 hours.

END OF SECTION

DEX-O-TEX PRODUCT LINE			3000 E. Harcourt Street		140 Valley Road

Crossfield Products Corp.			Rancho Dominguez, CA 90221		Roselle Park, NJ 07204

www.dexotex.com				Tel: (310) 886-9100			Tel: (908)  245-2800

Fax: (310) 886-9119			Fax: (908) 245-2583