SECTION 09851

FLEXIBLE, IMPACT RESISTANT, CHEMICAL RESISTANT EPOXY WALL COATING

Dex-O-Tex FLEX-GLAZE

PART 1.00 - GENERAL

1.01	GENERAL REQUIREMENTS

A.	Work of this Section, as shown or specified, shall be in accordance with the requirements of the Contract Documents.

1.02	WORK INCLUDED

A.	Work of this Section includes all labor, materials, equipment and services necessary to complete epoxy resin chemical resistant wall coating as shown on drawings and/or specified herein.

1.03	RELATED WORK

- Gypsum Board – Section 09250.

1.04	SUBMITTALS

A.	General:  Submit the following in accordance with Conditions of Contract and Division 1 Specification Sections.

B	LEED Submittals:

Product Data for Credit MR 4.1 and Credit MR 4.2:  For products having recycled content, submit documentation indicating percentages by weight of postconsumer and pre-consumer recycled content.

Include statement indicating costs for each product having recycled content.

Include LEED Product Information Form for LEED Credits MR 4.1 and 4.2

Product Data for Credit EQ 4.2:  For field applied, interior, paints coatings and primers, include printed statement of VOC content indicating compliance with Credit requirements.

Include LEED Product Information Form for LEED Credit EQ 4.2.

Provide additional documentation for products as required to achieve each Credit(s).

C.	Product Data:  Submit manufacturer's technical data, application instructions and general recommendations for epoxy resin chemical resistant wall coating specified herein.

D.	Samples for initial selection purposes in form of manufacturer's color charts showing full range of colors and finishes available.

- Submit 2-1/2" x 4" sample in color as selected.

E.	Material certificates signed by manufacturer certifying that the epoxy resin chemical resistant wall coating complies with requirements specified herein

F.	Maintenance Instructions:  Submit manufacturer's written instructions for recommended maintenance practices.

1.05	QUALITY ASSURANCE

A.	Installer Qualifications:  Engage an experienced Installer or applicator who has specialized in installing resinous flooring types similar to that required for this Project and who is acceptable to manufacturer of primary materials.

B.	Single-Source Responsibility:  Obtain epoxy resin chemical resistant wall coating materials, including primers, resins, hardening agents, and finish or sealing coats, from a single manufacturer.

1.06	DELIVERY, STORAGE AND HANDLING

A.	Deliver materials in original packages and containers with seals unbroken and bearing manufacturer's labels containing brand name and directions for storage and mixing with other components.

B.	Store materials to comply with manufacturer's directions to prevent deterioration from moisture, heat, cold, direct sunlight, or other detrimental effects.

1.07	PROJECT CONDITIONS

A.	Environmental Conditions: Comply with epoxy resin chemical resistant wall coating manufacturer's directions for maintenance of ambient and substrate temperature, moisture, humidity, ventilation, and other conditions required to execute and protect Work.

B.	Lighting: Permanent lighting will be in place and working before installing wall coating.

PART 2.00 - PRODUCTS

2.01	MATERIALS

A.	Epoxy resin chemical resistant wall coating shall be Dex-O-Tex Flex-Glaze as manufactured by Crossfield Products Corp. in Rancho Dominguez, California and Roselle Park, New Jersey.

2.02	PROPERTIES

A.	Colors:  As indicated, or if not otherwise indicated, as selected by Architect from manufacturer's standard colors.

B.	Physical Properties: Provide wall coating that meets or exceeds the listed minimum physical property requirements when tested according to the referenced standard test method in parentheses.

Compressive Strength ASTM D695	8,000 psi

Tensile Strength ASTN D638	3,500 psi

Tensile Elongation ASTM D638	8%

Adhesion ASTM D952	Exceeds internal strength of backing

Hardness ASTM D2240 Shore D	80-85

Water Resistance MIL-D-1044	16 mg

Water Absorption MIL-D-3134 Para 4.7.8	<0.5%

Chemical Resistance ASTM D1308	(See Chemical Resistant Chart)

Microbial Resistance ASTM G21	Passes

2.03	SUPPLEMENTAL MATERIALS

A.	Anti-Microbial Additive: Incorporate anti-microbial chemical additive to prevent growth of most bacteria, fungi, algae and actinomycetes. (Note to Specifier:  The use of anti-microbial additive is optional. Its use poses no health hazard.)

PART 3.00 - EXECUTION

3.01	INSPECTION

A.	Examine the areas and conditions where epoxy resin chemical resistant wall coating is to be installed and notify the Architect of conditions detrimental to the proper and timely completion of the work including absence of adjacent floor bases or other construction elements which are to be overlapped by wall coating.

The surface should be turned over to the wall coating applicator in “Paint Ready condition”  Do not proceed with the work until unsatisfactory conditions have been corrected by the Contractor in a manner acceptable to the Architect.

B.	Moisture Testing: Perform testing for excessive moisture in building components. Test in accordance with ASTM F1907, provide a written report indicating the test results and if the results are acceptable to proceed with the work. Do not proceed with the work until unsatisfactory conditions have been corrected by the Contractor in a manner acceptable to the Architect.

3.02   	PREPARATION

A.	Substrate:  Perform preparation and cleaning procedures according to flooring manufacturer's instructions for particular substrate conditions involved, and as specified. Provide clean, dry, substrate. Masonry and concrete substrate require the application of a filler coat to smooth out and fill any voids in the substrate before application of the Flex-Glaze wall coating system.

B.	Materials:  Mix epoxy resin components when required, and prepare materials according to wall coating system manufacturer's instructions.

3.03	APPLICATION

A.	General:  Apply each component epoxy resin chemical resistant wall coating system according to manufacturer's directions to produce a uniform monolithic wall coating of thickness indicated.

- Polymeric Filler Smoothing Coat: Apply a polymeric filler to the top edge termination of the epoxy flooring to provide a smooth even transition from the floor to the wall surface.  Allow to cure and sand to remove all irregularities. If required apply additional coats and sand as required to provide a seamless transition.

- Detail Coat: Apply a synthetic reinforced detail coat of Flex-Glaze basecoat over the feathered edge transition from the epoxy flooring to the wall surface. Insure reinforcement spans across the complete transition of epoxy flooring, polymeric filler, and extend a minimum of 1” on both sides of the transition.

D.	First Body Coat:  Apply Flex-Glaze Basecoat over prepared substrate at manufacturer's recommended spreading rate of 10 -12 mils dft, allow to cure. Proceed with application of second coat of basecoat within 48 hours of initial cure of the basecoat.

E	Second Body Coat:  Lightly sand the surface to remove any surface imperfections. Apply second coat Flex-Glaze epoxy resin chemical resistant wall coating in the same manner as the prior coat.  Overlay adjacent floor base, tie into door frames, etc. as shown on plans. Allow to cure. Proceed with application of top coats within 48 hours of initial cure of the basecoat

- Finish or Sealing Coats: After body coats have cured sufficiently, apply polyaspartic resin finish coat to produce finish matching approved sample and in number of coats and spreading rates recommended by manufacturer. If a second coat of Flex-Glaze top coat is required, the second coat must be applied within 4 hours after the first top coat has cured.

- Final finish coat shall be in color as approved by the Architect.

- Finished wall coating shall be 25 mils thick, uniform in color and texture.

    - CURING, PROTECTION AND CLEANING

- Cure resinous chemical resistant wall coating materials according to manufacturer's directions, taking care to prevent contamination during application stages and before completing curing process.  Close application area for a minimum of 24 hours.

# END OF SECTION

DEX-O-TEX PRODUCT LINE	3000 E. Harcourt Street	140 Valley Road

Crossfield Products Corp.	Rancho Dominguez, CA  90221	Roselle Park, NJ  07204

www.dexotex.com	Tel:  (310) 886-9100	Tel:  (908) 245-2800

Fax:  (310) 886-9119	Fax:  (980) 245-0659