SECTION 09800

POLYMERIC FLOOR COATING

Dex-O-Tex Quik-Glaze

PART 1.00 - GENERAL

1.01	GENERAL REQUIREMENTS

A.	Work of this Section as shown or specified shall be in accordance with the requirements of the Contract Documents.

1.02	WORK INCLUDED

A.	Work of this Section includes all labor materials equipment and services necessary to complete the polymeric floor coating as selected on drawings and/or specified herein.

1.03	RELATED WORK

A.	Concrete - Section (Note to Specifier: Concrete should be either water cured or cured using sodium silicate curing compounds only.  Other types of curing compounds are generally not acceptable.  Concrete should be cured for a minimum of 28 days and have a moisture vapor emission rate MVER of less than 3lb/1000SF/24hrs.)

B.	Floor drains - Division 15.

(Note to Specifier:  Floor drains, clean-outs, etc. should be of the "floor-flange" type as manufactured for use with composition floors by most major drain manufacturers.)

- Moisture Vapor Barrier – Division 7

(Note to Specifier: Moisture Vapor Barrier should be placed under the concrete slab to prevent excessive MVER. PLEASE NOTE that placement of this vapor barrier does not necessarily guarantee an adequate moisture barrier for concrete substrate to receive impermeable flooring. Moisture testing prior to application of the flooring system is required to insure proper application.

1.04	SUBMITTALS

A.	General:  Submit the following in accordance with Conditions of Contract and Division 1 Specification Sections.

B.	Product Data:  Submit manufacturer's technical data application instructions and general recommendations for polymeric floor coating specified herein.

C.	LEED Submittals:

1.  	Product Data for Credit MR 4.1 and Credit MR 4.2:  For products having recycled content, submit documentation indicating percentages by weight of postconsumer and preconsumer recycled content.

a.   	Include statement indicating costs for each product having recycled content.

b.	Include LEED Product Information Form for LEED Credits MR 4.1 and 4.2.

2.	Product Data for Credit EQ 4.2:  For field applied, interior, paints coatings and primers, include printed statement of VOC content indicating compliance with Credit requirements.

a.	Include LEED Product Information Form for LEED Credit EQ 4.2.

3.	Provide additional documentation for products as required to achieve each Credit(s).

D.	Samples for initial selection purposes in form of manufacturer's color charts showing full range of colors available including white and off-white colors.

1.  Submit 2-1/2" x 4" samples in color as selected.

E.	Material certificates signed by manufacturer certifying that the polymeric floor coating complies with all regulatory and any requirements specified herein.

F.	Contractor Qualifications: Submit a letter from the product manufacture certifying that the application contractor is acceptable to the product manufacture as a knowledgeable, qualified installer of the products specified herein, and that the product manufacture will jointly guarantee the application with the contractor performing the application.

G.	Maintenance Instructions:  Submit manufacturer's written instructions for recommended maintenance practices.

1.05	QUALITY ASSURANCE

A.	Installer Qualifications:  Engage an experienced installer or applicator who is specialized in installing polymeric flooring types similar to that required for this Project and who is acceptable to manufacturer of primary materials. The applicator shall provide references of five project performed by the applicator of a general type as that specified.

B.	Single-Source Responsibility:  Obtain polymeric flooring materials, including primers, resins, hardening agents, colored aggregates and finish or sealing coats, from a single manufacturer.

C.     Qualified Materials: Request for material approvals for any products other than the specified products must be submitted to the architect two weeks prior to the bid, including complete application specification, physical characteristics, and chemical resistance data. Any request after this date will not be accepted. Failure of performance requires immediate removal and replacement of unapproved substituted material with those originally specified at no cost to the owner, architect, construction manager, or general contractor.

D.     Job Log: The application contractor shall keep a job log that has daily reports for each day work is performed. The daily report shall summarize the work performed that day and list the ambient temperature, relative humidity, and dew point a minimum of once every four hours and at the commencement and conclusion of work each day.

1.06	DELIVERY STORAGE AND HANDLING

A.	Deliver materials in original packages and containers with seals unbroken and bearing manufacturer's labels containing brand name and directions for storage and mixing with other components.

B.	Store materials to comply with manufacturer's directions to prevent deterioration from moisture, heat, cold, direct sunlight or other detrimental effects.

1.07	PROJECT CONDITIONS

A.	Environmental Conditions:  Comply with polymeric floor coating manufacturer's directions for maintenance of ambient and substrate temperature, moisture, humidity, ventilation and other conditions required to execute and protect work.

B.	Lighting:  Permanent lighting will be in place and working before installing urethane floor coating.

PART 2:00 - PRODUCTS

2.01	MATERIALS

A.	Polymeric floor coating shall be Dex-O-Tex Quik-Glaze as manufactured by Crossfield Products Corp. in Rancho Dominguez, California and Roselle Park, New Jersey.

2.02	PROPERTIES

A.	Colors:  As indicated, or if not otherwise indicated, as selected by Architect from manufacturer's standard colors which must include white and off-white.

B.	Physical Properties:  Provide floor coating system that meets or exceeds the listed minimum physical property requirements when tested according to the referenced standard test method in parentheses.

##### Tear Strength, Die C

ASTM D624.	                                                         		 879 lbs/in

### Flexibility

ASTM D1737	 180 degree bend, 1/8” Mandrel.		 Pass

##### Tensile Strength

ASTM D412				         		 2400 psi

### Taber Abrasion

ASTM D-060 (CS17 Wheel, 1000g Load, 1000 Cycles)   	 8 mg loss

### Impact Resistance

ASTM D2794	          					160 in/lbs. Direct

160 in/lbs. Reverse

Elongation

ASTM D412                                                               		100%

##### Shore Hardness

ASTM D2240-91 Type A				  	 90

Solid Percent by Weight (calculated)		   	 95

Gloss

ASTM D523	  		                	               90+

Coefficient of Friction (slip resistance with leather footwear)

ASTM D2047                                           			  0.67 dry  0.82 wet

CHEMICAL RESISTANCE ASTM D543 24 Hour Immersion

ACIDS (Organic)	             Rating	              Weight Change

Citric Acid (1%)	         		NA		        +5%

Lactic Acid (10%)	                 D		      +17%

ACIDS (Mineral)

Sulfuric Acid (10%)                  	NA		        +6%

Sulfuric Acid (30%)	             	C		    +100%

### SOLVENTS

Isopropyl Alcohol (99%)            	C		     +90%

### ALKALIS

Sodium Hydroxide (10%)		NA		       +2%

Sodium Carbonate (2%)       	NA 		       +5%

Sodium Hypochlorite (5%)  	NA		       +3%

### MISCELLANEOUS COMPOUNDS

Mineral Oil		 NA		        <1%

Vegetable Oil		 NA		        <1%

Aviation Gasoline	 NA		      +10%

Diesel Fuel		 NA		        +4%

Rating System

NA = No Attack

D = Deglossed But no Physical Attack

C = Chemical Damage

PART 3.00 - EXECUTION

3.01	INSPECTION

A.	Examine the areas and conditions where polymeric floor coating is to be installed and notify the Architect of conditions detrimental to the proper and timely completion of the work.  Do not proceed with the work until unsatisfactory conditions have been corrected by the Contractor in a manner acceptable to the Architect.

3.02	PREPARATION

A.	Substrate:  Perform preparation and cleaning procedures according to flooring manufacturer's instructions for particular substrate conditions involved, and as specified.  Provide clean, dry, and neutral substrate for flooring application.

B.	Concrete Surfaces:  Shot-blast, diamond grind or power scarify as required to obtain optimum bond of flooring to concrete.  Remove sufficient material to provide a sound surface free laitance, glaze, efflorescence, and any bond-inhibiting curing compounds or form release agents.  Remove grease, oil, and other penetrating contaminates.  Repair damaged and deteriorated concrete to acceptable condition.  Leave surface free of dust, dirt, laitance, and efflorescence.

C.	Materials:  Mix primer and polymeric coating components when required, and prepare materials according to flooring system manufacturer's instructions.

3.03	APPLICATION

A.	General:  Apply each component of polymeric floor coating system according to manufacturer's directions to produce a uniform monolithic flooring surface.

B.	Bond Coat:  Apply bond coat over prepared substrate at manufacturer's recommended spreading rate.

C.	Flooring Coating:  Over bond coat apply nominal 7 mils dry film thickness by roller at manufacturers recommended spreading rate.

3.04	CURING, PROTECTION AND CLEANING

A.	Cure polymeric floor coating materials according to manufacturer's directions, taking care to prevent contamination during application stages and before completing curing process.  Close application area for a minimum of 24 hours.

END OF SECTION

DEX-O-TEX PRODUCT LINE		3000 E. Harcourt Street			140 Valley Road

Crossfield Products Corp.			Rancho Dominguez, CA 90221		Roselle Park, NJ 07204

www.dexotex.com	.		Tel: (310) 886-9100			Tel: (908) 245-2800

Fax: (310) 886-9119			Fax: (908) 245-2583