# SECTION 09810

# SLURRY BROADCAST EPOXY FLOOR ING SYSTEM

# Dex-O-Tex Dex-O-Cote

# PART 1.00 - GENERAL

# 1.01	GENERAL REQUIREMENTS

A.	Work of this Section, as shown or specified, shall be in accordance with the requirements of the Contract 	Documents.

# 1.02	WORK INCLUDED

A.	Work of this Section includes all labor, materials, equipment and services necessary to complete slurry                       broadcast epoxy flooring system as selected on drawings and/or specified herein.

# 1.03	RELATED WORK

A.	Concrete - Section 03300

(Note to Specifier: Concrete should be either water cured or cured using sodium silicate curing 		compounds only.  Other types of curing compounds are generally not acceptable.  Concrete should 	be cured for a minimum of 28 days.  On grade floors should have functioning vapor retarder 	beneath slab.)

# 1.04	SUBMITTALS

A.	General: Submit the following in accordance with Conditions of Contract and Division 1 Specification                        Sections.

B.	Product Data: Submit manufacturer’s technical data, application instructions and general 	recommendations           for slurry broadcast epoxy flooring system specified herein.

C.	LEED Submittals:

1.  	Product Data for Credit MR 4.1 and Credit MR 4.2:  For products having recycled content, submit documentation indicating percentages by weight of postconsumer and preconsumer recycled content.

a.   	Include statement indicating costs for each product having recycled content.

b.	Include LEED Product Information Form for LEED Credits MR 4.1 and 4.2.

2.	Product Data for Credit EQ 4.2:  For field applied, interior, paints coatings and primers, include printed statement of VOC content indicating compliance with Credit requirements.

a.	Include LEED Product Information Form for LEED Credit EQ 4.2.

3.	Provide additional documentation for products as required to achieve each Credit(s).

D.	Samples:

1) Submit 2-1/1” x 4” samples in color and profile as selected.

E.	Material certificates signed by manufacturer certifying that the slurry broadcast epoxy flooring                                   system complies with requirements specified herein.

F.	Maintenance Instructions: Submit manufacturer’s written instructions for recommended maintenance                         practices.

# 1.05	QUALITY ASSURANCE

A.	Installer Qualifications: Engage an experienced Installer or applicator who has specialized in installing                      resinous flooring types similar to that required for this Project and who is acceptable to manufacturer of                     primary materials.

B.	Single-Source Responsibility: Obtain epoxy floor coating materials including primers, slip-retardant                         aggregates, resins, hardening agents and finish coats from a single manufacturer.

# 1.06	DELIVERY STORAGE AND HANDLING

A.	Deliver materials in original packages and containers with seals unbroken and bearing manufacturer’s 	labels containing brand name and directions for storage and mixing with other components.

B.	Store materials to comply with manufacturer’s directions to prevent deterioration from moisture, heat, 	cold, direct sunlight, or other detrimental effects.

# 1.07	PROJECT CONDITIONS

A.	Environmental Conditions: Comply with slurry broadcast epoxy flooring system manufacturer’s directions for maintenance of ambient and substrate temperature, moisture, humidity, ventilation, and other conditions required to execute and protect work.

B.	Lighting: Permanent lighting will be in place and working before installing epoxy floor coating.

# PART 2.00 - PRODUCTS

# 2.01	MATERIALS

A.	Slurry broadcast epoxy flooring system coating shall be Dex-O-Tex Dex-O-Cote as manufactured by Crossfield Products Corp.; Rancho Dominguez, California; Roselle Park, New Jersey.

# 2.02	PROPERTIES

A.	Colors: As indicated, or if not otherwise indicated, as selected by Architect from manufacturer’s standard                 colors which must include white and off-white.

B.	Physical Properties: Provide a flooring system that meets or exceeds the listed minimum physical                              property requirements when tested according to the referenced standard test method in parentheses.

# Compressive Strength (ASTM C695)	11,000 psi.

Tensile Strength (ASTM C307)	1600  psi.

Flexural Modulus of Elasticity (ASTM C580)	4,300 psi.

Water Absorption (MIL-PRF-3134)	0.3 percent max.

Surface Hardness (ASTM D2240)	85.5 Durometer "D"

Abrasion Resistance (ASTM D1044)	0.0 gr.

Impact Resistance (MIL-PRF-3134, Para 4.7.3)	0.024" max.

No chipping, cracking loss of adhesion

Impact Resistance (Gardner Impact Tester)	No chipping, cracking, or delamination and not more than 0.014" indentation

Adhesion (A.C.I. Comm. No. 503.1)	400 psi (100% failure in concrete)

Electrical Conductivity (NFPA 56A)	Di-electric

Flammability-Critical Radiant Flux (ASTM E648)	Greater than 1.07 watts/cm2

# Co-efficient of Friction (MIL-PRF-3134 procedure - rubber shoe surface)

Static Friction		Sliding Friction

Saltwater		             		Sliding Friction

Solution	Oil on 	Saltwater	Oil on

On Surface	Surface	Solution	Surface

Fine Profile	0.95	0.75	0.89	0.44

Medium Profile	1.03	0.75	0.95	0.45

Coarse Profile	1.09	0.85	1.00	0.56

Very Coarse

Profile	1.24	0.78	1.04	0.59

# PART 3.00 - EXECUTION

# 3.01	INSPECTION

- Examine the areas and conditions where slip-retardant epoxy floor coating is to be installed and notify the Architect of conditions detrimental to the proper and timely completion of the work.  Do not proceed with   the work until unsatisfactory conditions have been corrected by the Contractor in a manner acceptable to    the Architect.

- Moisture Vapor Emission Testing:  Perform moisture vapor transmission testing in accordance with ASTM F1869 to determine the MVER of the substrate prior to commencement of the work. Notify the Architect of conditions detrimental to the proper and timely completion of the work.  Do not proceed with the work until unsatisfactory conditions have been corrected by the Contractor in a manner acceptable to the Architect.

# 3.02	PREPARATION

A.	Substrate: Perform preparation and cleaning procedures according to flooring manufacturer’s instructions for particular substrate conditions involved, and as specified.  Provide clean, dry, and neutral substrate for flooring application.

B.	Concrete Surfaces: Shot-blast, acid etch or power scarify as required to obtain optimum bond of flooring to concrete.  Remove sufficient material to provide a sound surface free laitance, glaze, efflorescence, and any bond-inhibiting curing compounds or form release agents.  Remove grease, oil, and other penetrating contaminates.  Repair damaged and deteriorated concrete to acceptable condition.  Leave surface free of dust, dirt, laitance, and efflorescence.

C.	Materials: Mix epoxy coating components when required and prepare materials according to manufacturer’s instructions.

# 3.03	APPLICATION

A.	General:  Apply each component of epoxy resin composition flooring system according to manufacturer's directions to produce a uniform monolithic flooring surface of thickness indicated.

B.	Bond Coat:  Apply bond coat over prepared substrate at manufacturer's recommended spreading rate.

- Body Coat:  Over primer, trowel apply epoxy slurry mix at nominal 1/16-inch thickness. Broadcast selected aggregate matrix into the wet slurry mix to complete rejection to produce a slurry broadcast coat approximate 1/8” thickness.  When cured remove all excess aggregate and detail floor surface to have consistent texture.

D.	Finish or Sealing Coats:  After body coat has cured sufficiently, apply grout and finish coats of type recommended by flooring manufacturer to produce finish matching approved sample and in number of coats and spreading rates recommended by manufacturer.

1.	Final finish coat shall be in color and skid retardant profile as approved by the Architect.

2.	Finished floor shall be 1/4" thick, uniform in color and free of trowel marks.

E.	Cove Base:  Apply cove base mix to wall surfaces at locations shown to form cove base height of 4 inches unless otherwise indicated.  Follow manufacturer's printed instructions and details including taping, mixing, priming, troweling, sanding, and top-coating of cove base.

# 3.04	CURING, PROTECTION AND CLEANING

A.	Cure epoxy floor coating materials according to manufacturer’s directions, taking care to prevent contamination during application stages and before completing curing process.  Close application area for a minimum of 24 hours.

# END OF SECTION

DEX-O-TEX PRODUCT LINE 			3000 E. Harcourt Street		140 Valley Road

Crossfield Products Corp.			Rancho Dominguez, CA 90221		Roselle Park, NJ 07204

www.dexotex.com				Tel: (310) 886-9100			Tel: (908) 245-2800

Fax: (310) 886-9119			Fax: (908) 245-2583