# SECTION 07574

# DOUBLE LAYERED WATERPROOF MEMBRANE SYSTEM

# Dex-O-Tex DUAL-FLEX

# PART 1.00 - GENERAL

# 1.01	GENERAL REQUIREMENTS

A.	Work of this Section, as shown or specified, shall be in accordance with the requirements of the Contract Documents.

# 1.02	WORK INCLUDED

A.	Work of this Section includes all labor, materials, equipment and services necessary to complete the waterproof neoprene composition Dual-Flex waterproof membrane system as scheduled on the drawings and/or specified herein.

# 1.03	RELATED WORK

A.	Concrete - Section 03300.

(Note to Specifier:  Concrete slab should be either water cured or cured using sodium silicate curing compounds only.  Other types of curing compounds are generally not acceptable.  Concrete should be cured for a minimum of 28 days with a maximum moisture content of 7%. Lightweight concrete topping slabs should not contain lightweight aggregates such as gypsum or vermiculite. Structural concrete and concrete topping shall include expansion joints which shall be filled with Dex-O-Tex Elastatex 500 joint filling compound or approved equal.  Minimum pitch of 1/8 inch per foot.  Covering on-grade floors is generally not recommended; However,  if doing so should have vapor retarder beneath slab, and slab should be properly vented. Consult Crossfield Products Corp.)

B.	Floor drains - Division 15.

(Note to Specifier:  Floor drains, clean-outs, etc. should be of the "floor-flange" type as manufactured for use with composition floors by most major drain manufacturers. Drain flange shall be finished with substrate. Bi-Level drains shall be used with mortar bed installations)

C.	Insulation, vapor barrier and protective waterproofing

(Consult Crossfield Products Corp. for specific recommendation)

D.	Sheet metal flashing

(Note to Specifier:  Sheet metal flashing shall be minimum 26 gauge galvanized. All joint or seams shall be overlapped approx. 3" and caulked with Dex-O-Tex Elastatex 500 flashing paste or approved equal.)

E.	Plywood substrate including framing and blocking

(Note to Specifier: Plywood substrates which are to receive thin-set tile applications shall be a minimum 5/8 inch (preferably 3/4 inch) exterior grade. Overlayed with 2.5 expanded metal lath filled with Dex-O-Tex G-26 Underlayment. Plywood shall be supported 16" on center and properly blocked. Plywood shall be attached with either screws, screw type or ring shank nails. Plywood substrates which are to receive mortar bed applications shall have slip sheet cleavage membrane both below and above waterproof membrane application. Special care shall be taken to insure waterproof membrane extends up vertical surfaces a minimum of 3" above finish elevation of tile surface.

F.	Slope for drainage

(Note to Specifier: Allow  minimum 1/8 inch per foot slope to drain. The slope must be provided for in the substrate or by application of Dex-O-Tex G-26 Underlayment. Care must be taken to provide adequate elevation at thresholds to provide proper slope to drain.)

# 1.04    SUBMITTALS

A.	General:  Submit the following in accordance with Conditions of Contract and Division 1 Specification Sections.

B.	Product Data:  Submit manufacturer's technical data, application instructions and general recommendations for the waterproof neoprene composition Dual-Flex waterproof membrane system specified herein.

C.	LEED Submittals:

1.  	Product Data for Credit MR 4.1 and Credit MR 4.2:  For products having recycled content, submit documentation indicating percentages by weight of postconsumer and pre-consumer recycled content.

a.   	Include statement indicating costs for each product having recycled content.

b.	Include LEED Product Information Form for LEED Credits MR 4.1 and 4.2.

2.	Product Data for Credit EQ 4.2:  For field applied, interior, paints coatings and primers, include printed statement of VOC content indicating compliance with Credit requirements.

a.	Include LEED Product Information Form for LEED Credit EQ 4.2.

3.	Provide additional documentation for products as required to achieve each Credit(s).

D.	Samples for initial selection purposes in form of manufacturer's recommended installation procedures for specific application parameters.

E.	Material certificates signed by manufacturer certifying that the waterproof neoprene composition Dual-Flex waterproof membrane system complies with requirements specified herein.

F.	Maintenance Instructions:  Submit manufacturer's written instructions for recommended maintenance practices.

G.	Provide a copy of International Association of Plumbers and Mechanical Operators (IAPMO.) approval stating that the proposed neoprene composition secondary membrane component of the Dual-Flex membrane system is certified as approved and has met all IAPMO criteria for waterproof membranes.

# 1.05	QUALITY ASSURANCE

A.	Installer Qualifications:  Engage an experienced Installer or applicator who has specialized in installing waterproof deck covering system types similar to that required for this Project and who is acceptable to manufacturer of primary materials.

B.	Single-Source Responsibility:  Obtain waterproof neoprene composition Dual-Flex waterproof membrane system materials, including membranes, primers, resins, hardening agents, and Mortar bed materials, from a single manufacturer.

C.	Pre-Qualified Materials:  Submit any request for alternative products for review two weeks prior to bid date, no request for alternate products received after this date will be considered. Any materials other then the specified materials that are installed without prior approval shall be removed and replaced with the specified materials at no cost to the owner.

# 1.06	DELIVERY, STORAGE AND HANDLING

A.	Deliver materials in original packages and containers with seals unbroken and bearing manufacturer's labels containing brand name and directions for storage and mixing with other components.

B.	Comply with manufacturer's directions for materials storage to prevent deterioration from moisture, heat, cold, direct sunlight, or other detrimental effects.

# 1.07	PROJECT CONDITIONS

A.	Environmental Conditions:  Comply with Dual-Flex waterproof membrane system manufacturer's directions for maintenance of ambient and substrate temperature, moisture, humidity, ventilation, and other conditions required to execute and protect work.

# PART 2.00 PRODUCTS

# 2.01	MATERIALS

A.	Double layered waterproof membrane system shall be Dex-O-Tex Dual-Flex waterproof membrane as manufactured by Crossfield Products Corp.; Rancho Dominguez, California; Roselle Park, New Jersey.

B.	The trowel applied Dual-Flex waterproof membrane system shall be composed of a primary waterproof membrane, mortar bed, secondary waterproof membrane and Protection surfacing,  and shall conform to the following standards:

1.)	All resin binders and all rubber emulsions shall be compounded with neoprene or polyacyralate Co-Polymer liquids and shall have a minimum polymer or neoprene solids content of 35% when tested by the dry cup method.

2.)	Fabric used as reinforcement for waterproof membrane or protection coat (as applicable) shall be 7-1/2 oz. woven polypropylene fabric.

# 2.02	PROPERTIES

A.	Physical Properties:

Provide a waterproof membrane system that meets or exceeds the listed minimum physical property requirements when tested according to the referenced standard test methods in parentheses.

# PRIMARY MEMBRANE

# Bond Strength ASTM C482 (modified)	Dry 	77 psi

Wet	62 psi

# Tensile Strength

Ceramic Tile Inst. SE S763	Dry	46 psi

Wet	50 psi

Breaking Strength ASTM D751	265 psi

# Elongation Fabric Reinforced

ASTM D751	50.5%

# Hydrostatic Pressure Resistance

ASTM D751	240 psi

Method A, Procedure 1

# Ozone Resistance ASTM D1149

(72 hrs @ 100 ppm)	No cracking, 90ºF plus Hydrostatic

crazing or waterFHA 4900.1) penetration

Dimensional Stability ASTM D1204	<0.5%

Indention Resistance FMA 4900.1, Sect. 615-5	No water (shower pans) penetration

Puncture Resistance FMA 4900.1, Sect. 615-5	No water (shower pans) penetration

System Performance ASTM C627	No water penetration

(Modified to Comply with Ceramic Tile Institute

moderate Split Slab procedure Commercial)

Microbial Resistant  ASTM G21	Passes – 2

# MORTAR BED UNDERLAYMENT

Compressive Strength ASTM C109	4,140 psi

Tensile Strength ASTM C307	800 psi

Flexural Strength ASTM C580	1,200 psi

Hardness ASTM D2240, Shore D	70-75

Adhesion ASTM D4541	>400 psi

(100% failure in concrete)

Indention MIL-D-3134, Para 4.7.4.2.1	2.26%

(Steadily applied Load, 2,000 lbs. On

1” steel ram imposed for 30 min.)

Adhesion MIL-D-3134, Para. 4.7.1.4	305 psi

(Shear from Steel Plate after 96 hours)

Water Absorption MIL-D-3134	3.14%

Impact Resistance (Gardner Impact Test)			No chipping, cracking, or delamination

and not more than 0.014”

# SECONDARY  WATERPROOF MEMBRANE

Thickness (typical)	1/16” (1.58 mm)

Adhesion ASTM D4541	> 400 psi

(100% failure in concrete)	(28.1 kg/cm)

Tensile Elongation ASTM D412	500%

Tensile Strength ASTM D412	1,050 psi

# Waterproofness (sample exposed to 50 psi

# water pressure. for one hour)	No water transmission

Water Resistance MIL-D-3134	16 mg

Hardness ASTM 2240, Shore A	60-70

Crack Bridging and Low Temperature Flexibility

ASTM C836	Complies

Microbial Resistance ASTM G21	Passes

# PART 3.00 - EXECUTION

301	CONTRACTOR QUALIFICATIONS

A.	Dual-Flex membrane system shall be installed in strict accordance with the manufacturer's recommendations by a contractor trained and approved by the materials manufacturer and have a minimum five years experience in the application of similar materials.

# 3.02	INSPECTION

A.	Examine the areas and conditions where the waterproof neoprene composition Dual-Flex waterproof membrane system is to be installed and notify the Architect of conditions detrimental to the proper and timely completion of the work.  Do not proceed with the work until unsatisfactory conditions have been corrected by the Contractor in a manner acceptable to the Architect.

B.	Evaluate level of moisture in the substrate to determine that moisture levels are acceptable for application of specified waterproof deck covering system.

303	PREPARATION

A.	Substrate:  Perform preparation and cleaning procedures according to waterproof membrane manufacturer's instructions for particular substrate conditions involved, and as specified.  Provide clean, dry and neutral substrate for application of waterproof deck covering.

- Materials:  Mix aqueous emulsions and aggregate when required as per manufacturer's instructions. Prepare materials according to waterproof membrane system manufacturer's instructions.

3.04	FIELD CONDITIONS

A.	Dual-Flex membrane system shall not be applied during either freezing or inclement weather, or when such weather can logically be expected.

# 3.05	APPLICATION

A.	General:  Apply each component of Dual-Flex waterproof membrane system according to manufacturer's directions to produce a uniform monolithic surface of thickness indicated.

B.	Detail all joints, cracks and transitions, fill with SC Membrane into cracks and joints even with the substrate surface. Apply 25 mils dft SC Membrane over Cracks with reinforcing fabric.

- Apply reinforced primary membrane at all vertical junctures. Embed polypropylene fabric into primary membrane liquid

- Apply Primary membrane at a minimum thickness of 42 mils over the entire surface tie-in to detail coats at flashing, transitions and terminations.

- Install mortar bed with a minimum slope of 1/8” per foot at a minimum thickness of 1 ¼”.

- Apply reinforced secondary membrane at all vertical junctures, transitions and terminations. Embed polypropylene fabric into the secondary membrane liquid

G.	Apply aqueous neoprene rubber waterproof membrane solution at a rate of 25 mils dft into fabric reinforcment to entire area to be coated.

- Trowel apply two coats of polyacyralate Co-Polymer and fine aggregate composition to achieve smooth,  protection coat.

- Water test before application of finished tile or paving system.

3.04      CURING, PROTECTION AND CLEANING

A.	Cure waterproof neoprene composition Dual-Flex waterproof membrane system materials according to manufacturer's directions, taking care to prevent contamination during application stages and before completing curing process.  Close application area for a minimum of 24 hours.

# END OF SECTION

DEX-O-TEX PRODUCT LINE	3000 E. Harcourt Street	140 Valley Road

CROSSFIELD PRODUCTS CORP.	Rancho Dominguez, CA 90221	Roselle Park, NJ 07204

www.dexotex.com		Tel:   (310) 886-9100	Tel:   (908) 245-2800

Fax:  (310) 886-9119	Fax:  (908) 245-2583