# NOTE TO SPECIFIER:

The VaporControl Primer 100 System is installed in different manners depending on the moisture vapor emission rate (MVER) and the floor covering or coating being installed over the VaporControl Primer 100 System.

MVER up to 15 lbs 	VaporControl Primer 100

MVER exceeding 15 lbs 		VaporControl Primer 100*, Double application, Concrete must be

Tested for physical strength and petrographic analyst for ASR

prior to application.

*Consult with Crossfield Products Corp. prior to use.

Note: VaporControl Primer 100 is an intermediate primer coat and is not intended as a stand alone system. When used under VCT, Sheet Vinyl, Rubber, Wood or other impermeable floor covering adhered with “pre-tested” adhesive.

PART 1.00 - GENERAL

1.01	GENERAL REQUIREMENTS

### Work of this Section, as shown or specified, shall be in accordance with the requirements of the Contract Documents.

1.02	WORK INCLUDED

- Work of this Section includes all labor, materials, equipment and services necessary to complete the installation of a negative side synthetic resin composition moisture barrier as scheduled on the drawings and/or specified herein.

1.03	RELATED WORK

- Concrete - Section 03300.

(Note to Specifier: Concrete should be either water cured or cured using sodium silicate curing compounds only. Other types of curing compounds are generally not acceptable. Concrete should be cured for a minimum of 10 days.)

- Crack Repair

(Note to Specifier:  Crack repair should be accomplished per ACI (American Concrete

Institution) recommendations and standard recognized practices for the type and size crack

being specifically addressed. Consult Crossfield Products Corp for further recommendations

or specification assistance.)

1.04	SUBMITTALS

- General: Submit the following in accordance with Conditions of Contract and Division 1 Specification Sections.

- Product Data: Submit manufacturer's technical data, application instructions and general recommendations for the synthetic resin composition moisture barrier specified herein.

C.	LEED Submittals:

1.  Product Data for Credit MR 4.1 and Credit MR 4.2:  For products having recycled content, submit documentation indicating percentages by weight of postconsumer and pre-consumer recycled content.

a.   	Include statement indicating costs for each product having recycled content.

b.	Include LEED Product Information Form for LEED Credits MR 4.1 and 4.2.

2.	Product Data for Credit EQ 4.2:  For field applied, interior, paints coatings and primers, include printed statement of VOC content indicating compliance with Credit requirements.

a.	Include LEED Product Information Form for LEED Credit EQ 4.2.

3.	Provide additional documentation for products as required to achieve each Credit(s).

D.	Samples:  Submit 2-1/2" x 4" samples of moisture barrier system as designated by the Architect.

E.	Material certificates signed by manufacturer certifying that the synthetic resin composition moisture barrier system complies with requirement specified herein.

F.	Test Report and Site Map:  Submit test reports in accordance with ASTM F 1869 which indicate the Moisture Vapor Emission Rates (MVER) and pH value for each test conducted along with a shop drawing that shows the location of each test conducted.

1.05        QUALITY ASSURANCE

- Installer Qualifications:  Engage an experienced installer or applicator who has specialized in installing resinous synthetic negative side vapor barriers, types similar to that required for this project and who is acceptable to manufacturer of primary materials.

- Single-Source Responsibility:  Obtain synthetic resin composition materials, including primers, resins, hardening agents, and finish or sealing coats, from a single manufacturer.

- Qualified Materials: Request for material approvals for any products other than the specified product must be submitted to the architect for evaluation two weeks prior to the bid date, including complete application specification, physical characteristics, and chemical resistance data. Any request after this date will not be accepted. Failure of compliance with this requirement will require immediate removal and replacement of unapproved substituted material with those originally specified at no cost to the owner, architect, construction manager, or general contractor.

1.06    DELIVERY, STORAGE AND HANDLING

- Deliver materials in original packages and containers with seals unbroken and bearing manufacturer's labels containing brand name and directions for storage and mixing with other components.

- Store materials to comply with manufacturer's directions to prevent deterioration from moisture, heat, cold, direct sunlight, or other detrimental effects.

1.07    PROJECT CONDITIONS

- Environmental Conditions: Comply with synthetic resin composition moisture barrier manufacturer's directions for maintenance of ambient and substrate temperature, moisture, humidity, ventilation, and other conditions required to execute and protect work.

- Lighting:  Permanent lighting will be in place and working before installing negative side vapor emissions system.

PART 2.00 - PRODUCTS

2.01	MATERIALS

- Fluid applied synthetic epoxy composition negative side moisture barrier system shall be Dex-O-Tex VAPORCONTROL PRIMER 100 Negative Side Moisture Vapor Membrane as manufactured by Crossfield Products Corp. in Rancho Dominguez, California and Roselle Park, New Jersey.

2.02	PROPERTIES

- Physical Properties:

Provide negative side vapor emissions system that meets or exceeds the listed minimum

physical property requirements when tested according to the referenced standard test

method in parentheses.

TYPICAL PHYSICAL PROPERTIES at 75oF (24oC)

- Adhesion ASTM D4541 	>400 psi

(100% failure in concrete exposed to Moisture Vapor

Emission Rate (MVER) at 15 lbs/1000 sq/ft/24 hr/per ASTM F1869)

- Compressive Strength ASTM D695	12,000 psi

- Tensile Strength ASTM D638	  5,600 psi

- Tensile Elongation ASTM D638, percent	2.7%

- Permeability (perms) Rating ASTM E96	Dry	<0.18

Wet	<0.80

- Microbial Resistance ASTM G21	Passes

- Alkali Resistance  ASTM D1308	Resistant

PART 3.00 - EXECUTION

3.01	INSPECTION

- Examine the areas and conditions where the negative side vapor emissions system is to be installed and notify the Architect of conditions detrimental to the proper and timely completion of the work.  Do not proceed with the work until unsatisfactory conditions have been corrected by the Contractor in a manner acceptable to the Architect.

- Conducted anhydrous calcium chloride moisture vapor transmission test in accordance to ASTM Standard ASTM F1869. Submit test results to the architect for review and direction to proceed.

3.02	PREPARATION

- Substrate:  Perform preparation and cleaning procedures according to manufacturer's instructions for particular substrate conditions involved, and as specified.  Provide clean, dry, and neutral substrate for application of the Synthetic Rubber Negative Side Moisture Vapor Barrier system.

- Concrete Surfaces:  Shot-blast, or power scarify as required to obtain optimum bond of negative side vapor emissions system to the concrete substrate. Acid etching is not allowed under any circumstances.  Remove sufficient material to provide a sound surface, free of laitance, glaze, efflorescence, and any bond-inhibiting curing compounds or form release agents.  Remove grease, oil, and other penetrating contaminate.  Repair damaged and deteriorated concrete to acceptable condition.  Leave surface free of dust, dirt, laitance, and efflorescence.

- Crack Treatment: Crack repair should be accomplished with standard recognized practices for the type and size crack being specifically addressed. Consult Crossfield Products Corp. for further recommendations or specification assistance

- Materials:  Mix resin catalyst and aggregate when required, and prepare materials according to synthetic moisture barrier system manufacturer's instructions.

3.03	APPLICATION

- General:  Apply each component of synthetic resin composition moisture barrier system according to manufacturer's directions to produce a uniform monolithic surface of recommended thickness.

- Vapor Barrier : Apply VaporControl Primer 100  penetrating primer solution by wetting the substrate with water to be surface saturated dry (SSD) immediately spray or roll VaporControl Primer 100 Primer onto the surface at a rate of 115 square feet per gallon (15 mils). Do not allow to puddle. Backroll with spiked roller to release any entrapped air. Allow to cure a minimum of 12 hours but before 24 hours proceed with next application.

- Optional Second Coat Vapor Barrier: (Note to Specifier:  When MVER is over 15 lbs. Apply two coats of VaporControl Primer 100).  Apply VaporControl Primer 100 onto the surface at a rate of approximately 115 square feet per gallon. Backroll to a uniform film thickness of 15 mils with a loop roller cover. Then backroll with spiked roller to release any entrapped air. Allow to cure a minimum of 12 hours and before 32 hours. (This is the final application when applying polymeric flooring. When installing VCT, Sheet vinyl, Rubber, and Carpet, proceeds with step D below).

- Topping Mortar: While VaporControl Primer 100 is still tacky, squeegee apply topping mortar to a smooth even finish. Allow to cure 12 hours before proceeding.  Sand to remove any surface imperfections or roughness as required. If VaporControl Primer 100 has fully cured the surface must be lightly abraded and primed with VL Primer prior to application of the topping mortar.

3.04     	CURING, PROTECTION AND CLEANING

A.	Cure synthetic resin composition moisture barrier materials according to manufacturer's directions, taking care to prevent contamination during application stages and before completing curing process.  Close application area for a minimum of 24 hours.

END OF SECTION

## DEX-O-TEX PRODUCT LINE	3000 E. Harcourt Street	140 Valley Road

Crossfield Products Corp.	Rancho Dominguez, CA 90221	Roselle Park, NJ 07204

www.dexotex.com	Tel:   (310) 886-9100	Tel:   (908) 245-2800

Fax:  (310) 886-9119	Fax:  (908) 245-0659